## Slide 1: Spec2Vec
Patrick Michl <patrick.michl@gmail.com>
Energy based non-linear Calibration in NIRS
2022-06-21

## Slide 2
Abstract
The success of multivariate calibration depends on the generalizability of the underlying regression models, for which the spectral features are usually decorrelated in a preliminary step. In order to also allow the application of deep neural networks like transformers, this presentation introduces a powerful approach to highly non-linear decorrelation of spectral features using deep energy based modeling.

## Slide 3
NIR Spectroscopy
Outline

## Slide 4
Multivariate Calibration
Outline

## Slide 5
Energy based Calibration
Outline

## Slide 6
Non-linear Feature Selection
Outline

## Slide 7
Bayesian Sample Selection
Outline

## Slide 8
Part 1
NIR Spectroscopy
NIR Spectroscopy

## Slide 9
What is NIR?
NIR Spectroscopy

## Slide 10
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum

## Slide 11
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum
Ranging
from ~780nm to ~2500nm

## Slide 12
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum
Ranging
from ~780nm to ~2500nm
No Atomic Spectral Lines
Eigenstates have transitions at typical wavelengths: ~10nm to ~750nm

## Slide 13
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum
Ranging
from ~780nm to ~2500nm
No Excited Atoms
Eigenstates have transitions at typical wavelengths: ~10nm to ~750nm
No Molecule Vibrations
Eigenfrequencies of bonds are typically at wavelengths: ~3000nm to ~30000nm

## Slide 14
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum
Ranging
from ~780nm to ~2500nm
No Excited Atoms
Eigenstates have transitions at typical wavelengths: ~10nm to ~750nm
No Molecule Vibrations
Eigenfrequencies of bonds are typically at wavelengths: ~3000nm to ~30000nm
No Fundamental Spectral Lines!

## Slide 15
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum
Ranging
from ~780nm to ~2500nm
No Excited Atoms
Eigenstates have transitions at typical wavelengths: ~10nm to ~750nm
No Molecule Vibrations
Eigenfrequencies of bonds are typically at wavelengths: ~3000nm to ~30000nm
No Fundamental Spectral Lines!
Vibrational Overtones
Vibration modes provide higher modes. 2nd modes are about 10-100x weaker than fundamental modes

## Slide 16
NIR Spectroscopy
What is NIR?
NIR = Near Infrared
Region in the EM spectrum
Ranging
from ~780nm to ~2500nm
No Excited Atoms
Eigenstates have transitions at typical wavelengths: ~10nm to ~750nm
No Molecule Vibrations
Eigenfrequencies of bonds are typically at wavelengths: ~3000nm to ~30000nm
No Fundamental Spectral Lines!
Vibrational Overtones
Vibration modes provide higher modes. 2nd modes are about 10-100x weaker than fundamental modes
Combination Modes
12 possible pairwise combinations of fundamental modes with highly unspecific (broad) bands

## Slide 17
What can be concluded about NIR?
NIR Spectroscopy

## Slide 18
NIR Spectroscopy
Deeper Penetration of samples
Weaker absorption allows deeper penetration of samples
Conclusions

## Slide 19
NIR Spectroscopy
Deeper Penetration of samples
Weaker absorption allows deeper penetration of samples
Simpler Preparation
Due to deeper penetration the sample surface is less cruzial
Conclusions

## Slide 20
NIR Spectroscopy
Simpler Preparation
Due to deeper penetration the sample surface is less cruzial
Condensed Information
Overlapping bands of deeper penetrations provide comprehensive information within the NIR region
Deeper Penetration of samples
Weaker absorption allows deeper penetration of samples
Conclusions

## Slide 21
NIR Spectroscopy
Simpler Preparation
Due to deeper penetration the sample surface is less cruzial
Unspecific Features
Due to overlapping, individual spectral features are insufficient for the prediction of chemical features
Condensed Information
Overlapping bands of deeper penetrations provide comprehensive information within the NIR region
Deeper Penetration of samples
Weaker absorption allows deeper penetration of samples
Conclusions

## Slide 22
NIR Spectroscopy
Simpler Preparation
Due to deeper penetration the sample surface is less cruzial
Unspecific Features
Due to overlapping, individual spectral features are insufficient for the prediction of chemical features
Condensed Information
Overlapping bands of deeper penetrations provide comprehensive information within the NIR region
Deeper Penetration of samples
Weaker absorption allows deeper penetration of samples
Interpretability of spectra?
Conclusions

## Slide 23
Multivariate Calibration
Part 2
Multivariate Calibration

## Slide 24
Multivariate Calibration
What is the General Setup?

## Slide 25
Multivariate Calibration
Spectroscopy
General Setup

## Slide 26
Multivariate Calibration
Spectroscopy
Quantization
General Setup

## Slide 27
Multivariate Calibration
Spectroscopy
Quantization
Normalization
General Setup

## Slide 28
Multivariate Calibration
Spectroscopy
Quantization
Normalization
Modeling & Optimization
General Setup

## Slide 29
Multivariate Calibration
Spectroscopy
Quantization
Normalization
Modeling & Optimization
Validation
General Setup

## Slide 30
Multivariate Calibration
Spectroscopy
Quantization
Normalization
Modeling & Optimization
Validation
General Setup

## Slide 31
Multivariate Calibration
What are the tools in Statistical Modeling?

## Slide 32
Multivariate Calibration
Approach 1: Multiple Linear Regression
Linear Superposition!
Model chemical features by superpositions of spectral features
Statistical Modeling

## Slide 33
Multivariate Calibration
Approach 1: Multiple Linear Regression
Linear Regression
Weights Bias
Linear Superposition!
Model chemical features by superpositions of spectral features
Statistical Modeling

## Slide 34
Multivariate Calibration
Approach 1: Multiple Linear Regression
Linear Regression
Weights Bias
Not Generalizable!
Due to multicollinearity
Linear Superposition!
Model chemical features by superpositions of spectral features
Statistical Modeling

## Slide 35
Multivariate Calibration
Approach 1: Multiple Linear Regression
Linear Decorrelation!
Decorrelate spectral features by orthogonal components
Statistical Modeling

## Slide 36
Multivariate Calibration
Approach 2: Principal Component (PC) Regression
Linear Decorrelation!
Decorrelate spectral features by orthogonal components
PC Regression
Weights Bias Projection of to the first Principal Components of
Statistical Modeling

## Slide 37
Multivariate Calibration
Approach 2: Principal Component (PC) Regression
Not Efficient!
Only accounts for covariances of spectral features
PC Regression
Weights Bias Projection of to the first Principal Components of
Linear Decorrelation!
Decorrelate spectral features by orthogonal components
Statistical Modeling

## Slide 38
Multivariate Calibration
Approach 2: Principal Component (PC) Regression
Incorporate Chemical Features!
Decorrelate the combined vector of spectral features and chemical features
Statistical Modeling

## Slide 39
Multivariate Calibration
Approach 3: Partial Least Squares (PLS) Regression
Incorporate Chemical Features!
Decorrelate the combined vector of spectral features and chemical features
PLS Regression
Weights Bias Projection of to the first Principal Components of
Statistical Modeling

## Slide 40
Multivariate Calibration
Approach 3: Partial Least Squares (PLS) Regression
Incorporate Chemical Features!
Decorrelate the combined vector of spectral features and chemical features
PLS Regression
Weights Bias Projection of to the first Principal Components of
Sufficient ?
Statistical Modeling

## Slide 41
Multivariate Calibration
Conclusions
What can be concluded about Multivariate Calibration?

## Slide 42
Multivariate Calibration
Samples are rare!
The requirement to extract chemical features by wet-lab experiments makes reference samples rare
Conclusions

## Slide 43
Multivariate Calibration
Samples are rare!
The requirement to extract chemical features by wet-lab experiments makes reference samples rare
Direct Regression is not possible!
Overlapping and scattered bands create multicollinearity in spectral features
Conclusions

## Slide 44
Multivariate Calibration
Samples are rare!
The requirement to extract chemical features by wet-lab experiments makes reference samples rare
Direct Regression is not possible!
Overlapping and scattered bands create multicollinearity in spectral features
Decorrelation in PLS allows efficient linear Regression
A preceeded decorrelation step in PLS allows allows linear regression
Conclusions

## Slide 45
Multivariate Calibration
Samples are rare!
The requirement to extract chemical features by wet-lab experiments makes reference samples rare
Direct Regression is not possible!
Overlapping and scattered bands create multicollinearity in spectral features
Decorrelation in PLS allows efficient linear Regression
A preceeded decorrelation step in PLS allows allows linear regression
Non-Linear Spectral Dependencies in NIR
Combined vibrational modes in NIR create highly non-linear conditional dependencies between spectral features
Conclusions

## Slide 46
Multivariate Calibration
Samples are rare!
The requirement to extract chemical features by wet-lab experiments makes reference samples rare
Direct Regression is not possible!
Overlapping and scattered bands create multicollinearity in spectral features
Decorrelation in PLS allows efficient linear Regression
A preceeded decorrelation step in PLS allows allows linear regression
Non-Linear Spectral Dependencies in NIR
Combined vibrational modes in NIR create highly non-linear conditional dependencies between spectral features
PLS based non-linear Regression is not possible!
The linear decorrelation step in PLS destroys non-linear relationships
Conclusions

## Slide 47
Multivariate Calibration
Samples are rare!
The requirement to extract chemical features by wet-lab experiments makes reference samples rare
Direct Regression is not possible!
Overlapping and scattered bands create multicollinearity in spectral features
Decorrelation in PLS allows efficient linear Regression
A preceeded decorrelation step in PLS allows allows linear regression
Non-Linear Spectral Dependencies in NIR
Combined vibrational modes in NIR create highly non-linear conditional dependencies between spectral features
PLS based non-linear Regression is not possible!
The linear decorrelation step in PLS destroys non-linear relationships
Non-Linear Decorrelation?
Conclusions

## Slide 48
Energy based Calibration
Part 3
Energy based Calibration

## Slide 49
Energy based Calibration
What is non-linear Decorrelation?

## Slide 50
Energy based Calibration
Non-Linear Decorrelation
Linear Correlations
„Multicollinearity“

## Slide 51
Energy based Calibration
Non-Linear Decorrelation
Linear Correlations
„Multicollinearity“
Linear Decorrelation
Orthogonal Projection to first Principal Components

## Slide 52
Energy based Calibration
Non-Linear Decorrelation
Linear Correlations
„Multicollinearity“
Linear Decorrelation
Orthogonal Projection to first Principal Components

## Slide 53
Energy based Calibration
Non-Linear Decorrelation
Linear Correlations
„Multicollinearity“
Linear Decorrelation
Orthogonal Projection to first Principal Components
Allows Linear Regression!
e.g. PC-, PLS-Regression

## Slide 54
Generic Correlations
Linear or non-linear
Energy based Calibration
Non-Linear Decorrelation

## Slide 55
Generic Correlations
Linear or non-linear
Non-Linear Decorrelation
Orthogonal Projection to dimensional Principal Manifold
Energy based Calibration
Non-Linear Decorrelation

## Slide 56
Generic Correlations
Linear or non-linear
Non-Linear Decorrelation
Orthogonal Projection to dimensional Principal Manifold
Energy based Calibration
Non-Linear Decorrelation

## Slide 57
Generic Correlations
Linear or non-linear
Non-Linear Decorrelation
Orthogonal Projection to dimensional Principal Manifold
Energy based Calibration
Non-Linear Decorrelation
Allows Non-Linear Regression!
e.g. Neural Networks (Transformers etc.)

## Slide 58
Energy based Calibration
How to model non-linear Decorrelation?

## Slide 59
Energy based Calibration
Approach 1: Directed Graphical Model
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Modelling Non-Linear Decorrelation

## Slide 60
Energy based Calibration
Approach 1: Directed Graphical Model
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Autoencoder
Weights Bias
+ Hyperparameters
Modelling Non-Linear Decorrelation

## Slide 61
Energy based Calibration
Approach 1: Directed Graphical Model
Autoencoder
Weights Bias
+ Hyperparameters
Not Generalizable!
does not equally consider information from different features due to a vanishing error gradient
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Modelling Non-Linear Decorrelation

## Slide 62
Energy based Calibration
Approach 1: Directed Graphical Model
Autoencoder
Weights Bias
+ Hyperparameters
Not Generalizable!
does not equally consider information from different features due to a vanishing error gradient
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Modelling Non-Linear Decorrelation
?

## Slide 63
Energy based Calibration
Approach 1: Directed Graphical Model
Autoencoder
Weights Bias
+ Hyperparameters
Not Generalizable!
does not equally consider information from different features due to a vanishing error gradient
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Modelling Non-Linear Decorrelation
Example
Let and be highly similar
?

## Slide 64
Energy based Calibration
Approach 1: Directed Graphical Model
Autoencoder
Weights Bias
+ Hyperparameters
Not Generalizable!
does not equally consider information from different features due to a vanishing error gradient
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Modelling Non-Linear Decorrelation
Example
Let and be highly similar
Optimization
The error is minimized if depends on or or any combination of them
?

## Slide 65
Energy based Calibration
Approach 1: Directed Graphical Model
Autoencoder
Weights Bias
+ Hyperparameters
Not Generalizable!
does not equally consider information from different features due to a vanishing error gradient
Directed mapping to latent space
Map features onto itself through a latent bottleneck layer and minimize Error
Modelling Non-Linear Decorrelation
Example
Let and be highly similar
Optimization
The error is minimized if depends on or or any combination of them
Out-of-Calibration Sample
If and are not highly similar then only by chance creates an adequate latent presentation!
!

## Slide 66
Energy based Calibration
Approach 1: Directed Graphical Model
Modelling Non-Linear Decorrelation

## Slide 67
Energy based Calibration
Approach 2: Undirected Graphical Model
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Modelling Non-Linear Decorrelation

## Slide 68
Energy based Calibration
Approach 2: Undirected Graphical Model
Deep Boltzmann Machine
Weights Bias Dist. of Dist. of
+ Hyperparameters
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Modelling Non-Linear Decorrelation

## Slide 69
Energy based Calibration
Approach 2: Undirected Graphical Model
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Generalizable!
equally considers information from different features
Modelling Non-Linear Decorrelation
Deep Boltzmann Machine
Weights Bias Dist. of Dist. of
+ Hyperparameters

## Slide 70
Energy based Calibration
Approach 2: Undirected Graphical Model
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Generalizable!
equally considers information from different features
Modelling Non-Linear Decorrelation
Deep Boltzmann Machine
Weights Bias Dist. of Dist. of
+ Hyperparameters
?

## Slide 71
Energy based Calibration
Approach 2: Undirected Graphical Model
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Generalizable!
equally considers information from different features
Modelling Non-Linear Decorrelation
Deep Boltzmann Machine
Weights Bias Dist. of Dist. of
+ Hyperparameters
Example
Let and be highly similar
?

## Slide 72
Energy based Calibration
Approach 2: Undirected Graphical Model
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Generalizable!
equally considers information from different features
Modelling Non-Linear Decorrelation
Deep Boltzmann Machine
Weights Bias Dist. of Dist. of
+ Hyperparameters
Example
Let and be highly similar
Optimization
The energy is only minimized if depends equally on and
?

## Slide 73
Energy based Calibration
Approach 2: Undirected Graphical Model
Undirected mapping to latent space
Regard the mapping between features and the bottleneck layer mutually and minimize Energy
Generalizable!
equally considers information from different features
Modelling Non-Linear Decorrelation
Deep Boltzmann Machine
Weights Bias Dist. of Dist. of
+ Hyperparameters
Example
Let and be highly similar
Optimization
The energy is only minimized if depends equally on and
!
Out-of-Calibration Sample
If and are not highly similar then still creates an adequate latent presentation!

## Slide 74
Energy based Calibration
What is Energy based Modeling?

## Slide 75
Energy based Calibration
Energy based Modeling
Undirected Connections
Weights model both directions:
Regression Model
Energy based Model
Directed Connections
Weights model one direction:

## Slide 76
Energy based Calibration
Energy based Modeling
Minimizes Energy
Parameters minimize the pairwise energies of connected vertices:
Pos. Corr.: Neg. Corr.:
Undirected Connections
Weights model both directions:
Regression Model
Energy based Model
Directed Connections
Weights model one direction:
Minimizes Error
Parameters minimize the error between targets and predictions

## Slide 77
Energy based Calibration
Energy based Modeling
Minimizes Energy
Parameters minimize the pairwise energies of connected vertices:
Pos. Corr.: Neg. Corr.:
Undirected Connections
Weights model both directions:
Regression Model
Energy based Model
Directed Connections
Weights model one direction:
Minimizes Error
Parameters minimize the error between targets and predictions
Calculates Predictions
Predictions of targets are directly calculated
Approximates Predictions
Predictions of all variables are approximated by a Markov Chain using Gibbs Sampling

## Slide 78
Energy based Calibration
Energy based Modeling
Minimizes Energy
Parameters minimize the pairwise energies of connected vertices:
Pos. Corr.: Neg. Corr.:
Undirected Connections
Weights model both directions:
Regression Model
Energy based Model
Directed Connections
Weights model one direction:
Minimizes Error
Parameters minimize the error between targets and predictions
Calculates Predictions
Predictions of targets are directly calculated
Optimizes Prediction Function
Gradient Descent in the Errorlandscape approximates the prediction function
Approximates Predictions
Predictions of all variables are approximated by a Markov Chain using Gibbs Sampling
Optimizes Joint Distribution
Gradient Descent in the Energylandscape approximates the joint distributon

## Slide 79
Energy Based Calibration
Non-linear Regression in Energy based Calibration

## Slide 80
Energy Based Calibration
Non-linear Regression
Consists of two Parts

## Slide 81
Energy Based Calibration
Non-linear Regression
Consists of two Parts
Part 1: Embedding
Non-linear decorrelation by Energy based model
Spec2Vec

## Slide 82
Energy Based Calibration
Non-linear Regression
Consists of two Parts
Part 1: Embedding
Non-linear decorrelation by Energy based model
Part 2: Regression
Non-linear regression by deep neural network (e.g. transformer etc.)
Spec2Vec

## Slide 83
Energy Based Calibration
What can be concluded about Energy based Calibration?

## Slide 84
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Conclusions

## Slide 85
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Increases Signal-to-Noise ratio
Non-linear decorrelation allows the separation of skewed noise (non-Gaussian)
Conclusions

## Slide 86
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Non-Linear Regression
Non-linear decorrelation allows non-linear regression of chemical features, e.g. by Neural Networks (Transformers, etc.)
Increases Signal-to-Noise ratio
Non-linear decorrelation allows the separation of skewed noise (non-Gaussian)
Conclusions

## Slide 87
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Non-Linear Regression
Non-linear decorrelation allows non-linear regression of chemical features, e.g. by Neural Networks (Transformers, etc.)
Increases Signal-to-Noise ratio
Non-linear decorrelation allows the separation of skewed noise (non-Gaussian)
Intricates Feature Selection
The non-linearity intricates the selection of non-linear spectral features
Conclusions

## Slide 88
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Non-Linear Regression
Non-linear decorrelation allows non-linear regression of chemical features, e.g. by Neural Networks (Transformers, etc.)
Increases Signal-to-Noise ratio
Non-linear decorrelation allows the separation of skewed noise (non-Gaussian)
Intricates Feature Selection
The non-linearity intricates the selection of non-linear spectral features
Non-linear Feature Selection?
Conclusions

## Slide 89
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Non-Linear Regression
Non-linear decorrelation allows non-linear regression of chemical features, e.g. by Neural Networks (Transformers, etc.)
Increases Signal-to-Noise ratio
Non-linear decorrelation allows the separation of skewed noise (non-Gaussian)
Intricates Feature Selection
The non-linearity intricates the selection of non-linear spectral features
Intricates Sample Selection
The non-linearity intricates the selection of calibration samples and thus the experimental design
Non-linear Feature Selection?
Conclusions

## Slide 90
Energy Based Calibration
Non-Linear Decorrelation
Energy based modeling allows non-linear decorrelation of spectral features
Non-Linear Regression
Non-linear decorrelation allows non-linear regression of chemical features, e.g. by Neural Networks (Transformers, etc.)
Increases Signal-to-Noise ratio
Non-linear decorrelation allows the separation of skewed noise (non-Gaussian)
Intricates Feature Selection
The non-linearity intricates the selection of non-linear spectral features
Intricates Sample Selection
The non-linearity intricates the selection of calibration samples and thus the experimental design
Non-linear Feature Selection?
Bayesian Sample Selection?
Conclusions

## Slide 91
Non-linear feature selection
Part 4
Non-linear feature selection

## Slide 92
Non-linear feature selection
Differential Geometric feature selection for Principal Components

## Slide 93
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Differential Geometric feature selection (linear)

## Slide 94
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 1: Statistical
Calculate empirical correlations:
Differential Geometric feature selection (linear)

## Slide 95
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 1: Statistical
Calculate empirical correlations:
Differential Geometric feature selection (linear)

## Slide 96
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 1: Statistical
Calculate empirical correlations:
Differential Geometric feature selection (linear)

## Slide 97
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 1: Statistical
Calculate empirical correlations:
Does not allow generalization to non-linearity!
Due to missing non-linear empirical correlation
Differential Geometric feature selection (linear)

## Slide 98
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 2: Geometrical
Calculate partial derivatives:
Differential Geometric feature selection (linear)

## Slide 99
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 2: Geometrical
Calculate partial derivatives:
Differential Geometric feature selection (linear)

## Slide 100
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 2: Geometrical
Calculate partial derivatives:
Differential Geometric feature selection (linear)

## Slide 101
Non-linear feature selection
Example (Line)
Feature Selection for Principal Component
Approach 2: Geometrical
Calculate partial derivatives:
Allows generalization to non-linearity!
The partial derivative can be integrated over an underlying principal manifold
Differential Geometric feature selection (linear)

## Slide 102
Non-linear feature selection
Differential Geometric feature selection for Principal Manifolds

## Slide 103
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)

## Slide 104
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)
Approach 1: Analytical Integration
Calculate integrals of partial derivatives along curve

## Slide 105
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)
Approach 1: Analytical Integration
Calculate integrals of partial derivatives along curve

## Slide 106
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)
Approach 1: Analytical Integration
Calculate integrals of partial derivatives along curve
Not Computable!
Individual outcomes of are to be computed by Gibbs Sampling

## Slide 107
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)

## Slide 108
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)
Approach 2: Monte Carlo Integration
Approximate integrals of partial derivatives along curve

## Slide 109
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)
Approach 2: Monte Carlo Integration
Approximate integrals of partial derivatives along curve

## Slide 110
Non-linear feature selection
Example (Curve)
Feature Selection for Principal Curve
Differential Geometric feature selection (non-linear)
Approach 2: Monte Carlo Integration
Approximate integrals of partial derivatives along curve
Allows non-linear feature selection!
The empirical means converge towards the integrals under mild conditions

## Slide 111
Non-linear feature selection
What can be concluded about non-linear feature selection?

## Slide 112
Non-linear feature selection
Conclusions
Feature Selection
for non-linear models works!

## Slide 113
Non-linear feature selection
Conclusions
Feature Selection
for non-linear models works!
Sufficiency
The non-linearity allows higher accuracy at same number of spectral features

## Slide 114
Non-linear feature selection
Conclusions
Feature Selection
for non-linear models works!
Improves Parallel Measures
e.g. by diffraction grating
Sufficiency
The non-linearity allows higher accuracy at same number of spectral features

## Slide 115
Non-linear feature selection
Conclusions
Feature Selection
for non-linear models works!
Improves Parallel Measures
e.g. by diffraction grating
Sufficiency
The non-linearity allows higher accuracy at same number of spectral features
Efficiency
The non-linearity allows fewer spectal features at same accuracy

## Slide 116
Non-linear feature selection
Conclusions
Feature Selection
for non-linear models works!
Improves Parallel Measures
e.g. by diffraction grating
Sufficiency
The non-linearity allows higher accuracy at same number of spectral features
Efficiency
The non-linearity allows fewer spectal features at same accuracy
Accelerates Sequential Measures

## Slide 117
Bayesian sample selection
Part 5
Bayesian sample selection

## Slide 118
Bayesian sample selection
Bayesian Experimental Design

## Slide 119
Bayesian sample selection
Bayesian Experimental Design
Initial Selection of calibration samples

## Slide 120
Bayesian sample selection
Bayesian Experimental Design
Initial Selection of calibration samples
Determine confidence within validation samples
using quantile loss

## Slide 121
Bayesian sample selection
Bayesian Experimental Design
Initial Selection of calibration samples
Determine confidence within validation samples
using quantile loss
Backpropagate uncertainty to spectral features
using quantile loss and non-linear feature selection

## Slide 122
Bayesian sample selection
Bayesian Experimental Design
Initial Selection of calibration samples
Determine confidence within validation samples
using quantile loss
Backpropagate uncertainty to spectral features
using quantile loss and non-linear feature selection
Add calibration samples with distinct features

## Slide 123
Bayesian sample selection
Conclusions about Bayesian sample selection

## Slide 124
Bayesian sample selection
Conclusions
Iteratively increases Confidence in Validation Predictions
by Bayesian Optimization

## Slide 125
Bayesian sample selection
Conclusions
Iteratively increases Confidence in Validation Predictions
by Bayesian Optimization
Can lead to Overfitting of Validation samples

## Slide 126
Bayesian sample selection
Conclusions
Iteratively increases Confidence in Validation Predictions
by Bayesian Optimization
Can lead to Overfitting of Validation samples
How to avoid Overfitting?
Additional Test Samples? Changes in Validation Samples?

## Slide 127
Bayesian sample selection
Conclusions
Iteratively increases Confidence in Validation Predictions
by Bayesian Optimization
Can lead to Overfitting of Validation samples
How to avoid Overfitting?
Additional Test Samples? Changes in Validation Samples?
Intricates scheduling in product development

## Slide 128
Bayesian sample selection
Conclusions
Iteratively increases Confidence in Validation Predictions
by Bayesian Optimization
Can lead to Overfitting of Validation samples
How to avoid Overfitting?
Additional Test Samples? Changes in Validation Samples?
Intricates scheduling in product development
When to stop Iterations?
Elbow method? Fixed number of iterations?

## Slide 129
Summary
Summary

## Slide 130
Summary
#1
Neural networks are by themselves not suitable for multivariate calibration in NIR due to missing generalizability

## Slide 131
Summary
#2
A preceded embedding step with deep non-linear decorrelation using energy based modeling fixes this issue
#1
Neural networks are by themselves not suitable for multivariate calibration in NIR due to missing generalizability

## Slide 132
Summary
#2
A preceded embedding step with deep non-linear decorrelation using energy based modeling fixes this issue
#1
Neural networks are by themselves not suitable for multivariate calibration in NIR due to missing generalizability
#3
The incorporation of non-linearity increases the accuracy and the efficiency of predictions

## Slide 133
Summary
#2
A preceded embedding step with deep non-linear decorrelation using energy based modeling fixes this issue
#1
Neural networks are by themselves not suitable for multivariate calibration in NIR due to missing generalizability
#3
The incorporation of non-linearity increases the accuracy and the efficiency of predictions
#4
The incorporation of non-linearity intricates feature selection and the design of experiments

## Slide 134
Thank you for your attention!